Chapter 5

PERFORMANCE INDEX

1.		PERFORMANCE INDEX Calculations

1.1		PERFORMANCE INDEX Concept

The DSM Performance Index concept is defined as follows:

DSM Performance Index =

energy related capacity savings +reliability related capacity savings

where:

- energy related capacity savings = the portion of avoided supply side investment attributed to energy production; and

- reliability related capacity savings = the portion of avoided supply side investment attributed to system reliability.

1.2	General Equations for Calculation of PERFORMANCE INDEX

The Performance Index in each year based on the annual energy savings (kWh/yr) and capacity savings (kW/yr) achieved by all DSM measures installed under various programmes shall be calculated according to the following formula:

Annual DSM Performance Index (HK$) = (ES x CAPer) + (CS x CAPrel)

where :

ES 	= 		annual energy savings (kWh/yr) at generator level for all DSM 			measures;

CAPer 	= 	energy-related capital (expressed in $/kWh based on assumed capacity 	factor).  This is defined as the difference in capital cost ($/kW) 			between a base load unit and a peaking unit divided by the expected 	average annual operating hours;

CS 	= 		annual capacity savings (kW/yr) at generator level of all DSM 			measures;

CAPrel 	= 	reliability-related capital ($/kW).  This is defined as the capital cost of peaking unit and transmission and distribution facilities adjusted to reflect the associated losses and system reserve capacity status.

For a 3-year DSM Resource Plan, the DSM measures installed under various programmes implemented in each programme year will have impacts on the power system throughout the lifetimes of the installed measures. The annual energy and capacity savings achieved by the respective measures are assumed to persist throughout their lifetimes. Therefore the total DSM Performance Index for a 3-Year DSM Resource Plan is equal to the sum of annual DSM Performance Indexes, which are calculated based on the total annual energy and capacity savings achieved by all installed measures during their lifetimes, i.e.

Total DSM Performance Index for a 3-year DSM Resource Plan

n

=	  (Annual DSM Performance Index)j

j=1

n

=		 (ESj x CAPer) + (CSj x CAPrelj)

j=1

where n is the time horizon over which the DSM measures installed within the 3-year DSM Resource Plan period under various programmes have impacts on the power system (i.e., assume the lifetime of a commercial HVAC unit is 16 years. If such measures were installed in programme years 1 to 3 under a commercial HVAC programme, then the time horizon, i.e. n, that these measures will have impacts on the system is 18 years).

1.3		Detailed PERFORMANCE INDEX Calculations

The performance index equation in expanded form factoring the Hong Kong situation is provided below:

Annual DSM Performance Index (HK$) =

{ES’j x (CAPCOAL -CAPGT) / ((8760 x CF) x (1-LTRANS) x (1-LWORK))} +

{ CAPGT x CS’j x (1+RM) / ((1-LTRANS) x (1-LWORK)) + (CAPT&D x CS’j) / (1-LTRANS)}

therefore.

Total DSM Performance Index (HK$) for a 3-year DSM Resource Plan =

n

  {ES’j x (CAPCOAL -CAPGT)/((8760 x CF) x (1-LTRANS) x (1-LWORK))} +

j=1

{ CAPGT x CS’j x (1+RM) / ((1-LTRANS) x (1-LWORK)) + (CAPT&D x CS’j) / (1-LTRANS)}

Where,

n             	= 	the time horizon when DSM measures installed within the 3-year DSM Resource Plan period have impacts on the power system

ES’j        	= 	annual energy savings (kWh/yr) at consumer level of all DSM measures installed under respective programmes in year j

LWORK     	= 	works losses (constant for the first Resource Plan)

LTRANS        = 	T&D losses (constant for the first Resource Plan)

CAPCOAL 	= 	avoided cost of the coal plant ($/kW) (constant for the first Resource Plan)

CAPGT 	= 	avoided cost of a peaking unit ($/kW) (constant for the first Resource Plan)

CF 	=  	capacity factor (constant for the first Resource Plan)

RM 	= 	optimal reserve margin (constant for the first Resource Plan)

CAPT&D  	= 	avoided cost of the T&D facilities ($/kW) (constant for the first Resource Plan)

CS’j	= 	annual capacity savings (kW/yr) at customer level of all DSM measures installed under respective programmes in year j

The agreed values of the above key parameters, which are assumed constant for the first DSM Resource Plan, are shown in Appendix I.

2.		Cost-Effectiveness Assessment and Audit Procedures

2.1		AUDIT REQUIREMENTS

2.1.1	During and After Year 1

During or immediately after Year 1, DSM programme cost effectiveness may be evaluated for planning purposes but is not mandatory. However, a sampling of participants (the exact number to be determined by the Utility to satisfy its programme control requirements) will need to be site-visited to verify that the rebated appliances/installations have in fact been purchased and installed.

2.1.2	After Year 2

DSM Programme cost-effectiveness may again be evaluated for planning purposes after Year 2 but is not mandatory. No audit activities are required.

2.1.3	After Year 3 (End of 3-Year DSM Plan)

DSM Programme cost-effectiveness will be determined immediately after Year 3. This final assessment will include all three years of activities and all Rebate Programmes on a combined basis as the “DSM Plan”. The costs of all programmes over the three years’ period will be determined. A thorough, detailed measurement and verification audit will be performed of an appropriate sample of combined programme participant sites. The sample population shall be representative of all programme participants over the 3-year period.

This verification audit will provide the official, final determination of all programme activities and exact values to be used as the results of the 3-year plan. Finally, the combined actual costs and actual results for the Plan will be used to determine the cost-effectiveness of the whole Plan.

2.2		SHIFT IN PROGRAMME RESOURCE

Flexibility shall be given to the Utility by allowing it to adjust the resources of each DSM programme during the DSM Resource Plan period in accordance with the actual results being realized in their programmes under implementation. If some of the programmes were found to be not cost-effective and/or the target programme savings could not be achieved, the Utility would be allowed to shift the resources of these programmes to those programmes being successfully implemented.  The Utility shall provide the Government with prior notification of any such shift in resources.

This will help ensure that the savings target for the overall Plan measured at the third year of implementation would still be achieved. However, the total costs of all Rebate Programmes in the DSM Resource Plan shall not exceed 125% of the approved budget.

3.		PERFORMANCE INDEX Parameter Changes

All of the direct and indirect parameters in the Performance Index calculation shall be reviewed and modified if necessary as part of each 3-Year plan filing.  This is because there are several key factors in the Performance Index calculation that require validation based on actual DSM experience and possible changes in the Scheme of Control Agreement.  These factors are presented in Appendix I of this Chapter.

It may also be necessary to review and in some cases modify as appropriate the key economic  parameters that underlie the calculation of the DSM Performance Index (e.g., avoided cost per kW).  In addition, on-going review and modification of assumptions to reflect experiences gained by the Utility in implementing DSM programmes will be allowed as appropriate.

4.		Maximum Limits on cost Recoveries

If actual DSM Programme Costs exceed budgeted costs, the Utilities are allowed to recover DSM Programme Costs up to the limit specified below save and except the costs of resolving any legal disputes arising out or in connection with the DSM Agreement and Handbook.

To enhance the flexibility of the Utility to adjust its programme resources to achieve the overall target savings of the DSM Resource Plan, a 125% limit for total programme costs including overruns shall be applied but only to those Rebate Programmes on a combined basis actually contributing savings to the Plan Goal. The Non-rebate Programmes such as education and advertisement would not be allowed any cost overruns or under-spending which exceed 10% of the approved budget.

Appendix I

A. 	DSM Performance INDEX Equation Parameters

|  | Parameter (Unit) | Value | Reference |
| --- | --- | --- | --- |
| 1. | Losses, L | Transmission Loss = 4.86% Work Loss = 8.0% | Pages 5-3 |
| 2. | Avoided Cost of the Coal Plant ($/kW), CAPCOAL | 11,700 | Pages 5-3 |
| 3. | Avoided Cost of a Peaking Unit ($/kW), CAPGT | 5,780 | Pages 5-3 |
| 4. | Capacity Factor (%/100), CF | CF=59% | Pages 5-3 |
| 5. | Optimal Reserve Margin (%/100), RM | RM=27% | Pages 5-3 |
| 6. | Avoided Cost of T&D Facilities ($/kW), CAPT&D | 4,200 | Pages 5-3 |

B.	Financial Data*

Permitted Returns and Profits

Permitted Return On ANFA **	13.5%

Debt Financing and Modeling Parameters (Generation Plants, T&D Projects)

Interest rate	8.0%

Discount rate	8.0%

* 	All plants and projects are assumed to be 100% financed by debts.

**	As defined in the SCA.